Patient Led Assessments of the Care Environment (PLACE)-Lite Guidance

Introduction

This guide covers the arrangements for organising and undertaking PLACE Lite assessments.   PLACE-Lite is recommended good practice to complement the annual PLACE collection and it is an effective way of assessing and monitoring progress in areas identified as requiring improvement and for preparation in advance of the main collection.

This guide is a standalone document to use as an aide; it identifies where practice may differ from the standard PLACE programme and where organisations should determine their own approach.

PLACE Lite and PLACE 2020-2025

The annual PLACE programme was suspended in 2020 and 2021 due to the operational difficulties and associated risks brought about by Covid-19.  PLACE-Lite remained open for healthcare organisations to undertake assessments if they choose to do so.

In 2022 the annual PLACE programme was reintroduced; however, it is strongly recommended that organisations undertake PLACE-Lite in-year as standard (and in addition to PLACE).

Scope

All organisations and sites are eligible for inclusion in PLACE regardless of size or bed numbers; this is also relevant to PLACE-Lite. Generally, organisations are asked to include only units of 10 beds or more; there are no such restrictions in PLACE-Lite, but consideration should be given to the benefits of undertaking such a small assessment.

Organisations are free to choose the areas they would like to cover in their PLACE-Lite assessments, for example, the number of wards and / or outpatient departments.

Assessment teams

The number and membership of teams undertaking PLACE-Lite assessments is for organisations to decide, it is not a requirement to include patient assessors. However, we do recommend following the approach used for PLACE as far as is possible.

The relevant guidance on hospital visitors / use of volunteers should be followed where organisations plan to invite patient representatives / volunteers to take part.

It might be worth considering assessment teams drawn from internal IPC, Nursing, Facilities Management, and Estates staff as well as from the senior team and the organisation’s governors. We do recommend using people from outside your organisation, if possible, for example, enlisting support from staff in neighbouring trusts.

Timetable

It is for organisations to decide how and when they organise and undertake their PLACE-Lite assessment(s).  We know the frequencies vary with some organisations preferring monthly assessments, quarterly, every six months, or annually.

Local programme organisation

PLACE is intended to be unannounced to ensure that a true reflection of the site/ area is viewed and to avoid any reactionary issue resolution prior to arrival which might impact the scores. This is managed locally during the PLACE programme to fit with practical issues of managing the assessments on the day.  We recommend a similar approach for PLACE-Lite, but this should be determined by the organisation with consideration given to the areas chosen to be assessed.

PLACE documents and links

The main PLACE guidance documents can be found here:

Patient-Led Assessments of the Care Environment (PLACE) - NHS Digital

Should organisations wish to undertake local assessments, the PLACE-Lite module and its mobile option remain available. Guidance for both is available within the “Documents” section of EFM.

https://efm.digital.nhs.uk/

The mobile version has been improved in line with changes to PLACE, to ensure the flow of questions is the same across all forms and systems. It can be accessed here, and needs to be set up in the main EFM system before starting the assessment: https://efm.digital.nhs.uk/placelite/mobile (you must have an EFM account to access).

Should you require a user account, please contact NHS Digital’s Estates team at: efm-information@nhs.net

Scoring

On completion of a PLACE-Lite assessment, scores are generated based on the areas assessed using the same methodology as in PLACE. There is a separate document available detailing this which can be downloaded from the collection page, as well as guidance on each scorecard.

PLACE Lite results

PLACE Lite results are for local use only; they will not be published or monitored centrally.  Organisations can use their results as they see fit and this includes sharing them with the Care Quality Commission if they choose to do so.

Post PLACE-Lite

Individual organisations are encouraged to complete an Action Plan and determine timeframes for addressing areas for improvement identified during assessments.