## Title Sheet
Document filename: | HSCN Estates Data Report
Directorate / Programme | HSCN
Document Reference
Project Manager | Michael Robinson | Status | Live
Owner | Greg Walker | Version | 2
Authors | Michael Robinson | Version issue date | 2021-11-08
Des Ward - Innopsis
Version | Date | Summary of Changes
*previous versions managed through Change Control.
2 | 2021-11-01 | Major Update following OF Summer 2021 review. Title sheet added for 1st time.
1.6
1 | 2017-01-01 | Initial document
HSCN Compliance Annex A Minimum Compliance Baseline
Version 4.3.4
This document details the HSCN Estates Data reporting information required by the HSCN Authority
Copyright © 2021, Health and Social Care information Centre. All Rights Reserved.

## ISMS and Annex A
Control No. | Control category | Control criticality | HSCN minimum compliance | HSCN additional guidance | Control assessment - with HSCN Compliance evidence assessment | Description of conformance
4.3 | Scope | Mandatory | Y | The ISMS scope must include at least the minimum scope defined in the scoping guidance included in the Security Procedures (paragraphs 20 to 28). The ISMS scope must identify unambiguously each separate service slice to be managed and audited for availability and their external interfaces, so that availability calculations, availability records and aggregation of platform and service availabilities can be carried out without ambiguity. | Does the scope of the ISMS document the boundaries of the ISMS?
4.3.a | Scope | Mandatory | Y | Scope of the ISMS 20. All assets that, if faulty, compromised or misused might impact E2E service availability, continuity and security of the live assured service, are in scope. Critical Equipment 21. Critical equipment must be included in scope. 22. Critical equipment includes: a. All equipment directly providing the assured service. b. Equipment that, if compromised, would enable an attacker to affect the assured service (e.g. network management systems, network monitoring systems). c. Equipment that, if faulty, could immediately affect the assured service. d. Firewalls, authentication servers and jump servers protecting the assured service. e. Billing systems that have the capability to automatically restrict or disconnect a customer’s service. f. Back-up or standby equipment that will be invoked to provide the assured service in the case of a failure of the primary equipment. Note: The goal is to ensure that provisioned services continue to run. Therefore systems required only to provision or change services are not necessarily critical equipment if they do not fall into any of the categories above. 23. Examples of critical equipment are:  Core router  Customer premises router; and  A network management server 24. Examples of equipment that may not be critical equipment are:  Systems required for making changes  Systems used for reporting on performance or status to customers; and  Systems used for fulfilment of new orders | Are assets required by legal, regulatory and contractual obligations and End-to-End service availability, continuity and security of the service included within the ISMS? Evidence could include, but is not limited to: Asset lists (including criticality) ISMS scoping document Service solution design documentation. Component Failure Impact Analysis Non-functional Test Plans / Specifications / Reports | Does the organisation assess the physical risk to the sites, information assets, host systems and network devices within the scope of the ISMS from external environmental and location threats and implement controls accordingly?
4.3.b | Scope | Mandatory | Y | Personnel, Sites, Supporting Equipment and Applications 25. In addition to the critical equipment the following are also in scope: a. Where an application is defined as critical, this should be considered to include its hardware, operating system, disk system, hypervisor and so on. b. Personnel with significant access to critical equipment. This normally includes all network engineering staff and IT staff working on the critical equipment. c. Critical equipment areas, which are sites containing critical equipment (except customer sites only containing Customer Premises Equipment (CPE)). d. Personnel with access to critical equipment areas. e. Personnel (e.g. field engineers) with physical access to critical equipment at customer sites. f. Disaster recovery sites (and associated equipment) designated to support the assured service. g. All utilities (e.g. air-conditioning and uninterruptable power systems) supporting critical equipment areas. 26. Significant access means any of:  Super-user access  Application administration access  Operating system level access (except read-only)  Any access granting the ability to change more than a single service instance at any time 27. Personnel who can only modify a single service instance at once, for example some customer service personnel, do not need to be in scope. 28. However, systems used by these excluded personnel should be configured to prevent accidental or malicious changes to services. Additional controls may include:  Auditing all changes  Preventing high volumes of changes by a single member of staff  Controlling wildcard changes  Notifying unusual changes to supervisors Permitted Exclusions 29. Tail circuits that lack ISO27001:2013 assurance may be used when:  There is no reasonable alternative  The exclusion and justification has been agreed with the auditor  It is declared on the CAS certificate  It is declared in the residual risk statement  It is declared in the scope document; and  The affected circuits and/or services are clearly declared to the customer 30. Connections with less than 99.5% availability may be used when:  The exclusion and justification has been agreed with the auditor  It is declared on the CAS certificate  It is declared in the residual risk statement  It is declared in the scope document; and  The affected circuits and/or services are clearly declared to the customer | Does the scope of the ISMS include all critical people, processes, technology and sites?
6.1.2.c | Risk assessment | Mandatory | Y | The following top-level threats to E2E service availability, continuity and security must feed into the risk assessment: a. External groups of hackers capable of technical and/or physical attacks; b. Insider attacks, for example those from disaffected employees, partners and vendors; c. Well-meaning staff who may accidentally cause security incidents; The scope of the risk assessment must include all of the entities identified in the scope section below. It must also consider external interfaces such as customer portals, remote access, third party support, corporate networks, etc. Risks to E2E service availability, continuity and security to be considered must include: a. Physical attacks; b. Denial-of-service attacks against network elements; c. Attacks on management layers via network elements; d. Attacks via management layers (unauthorised individuals); e. System failures; f. Deliberate misconfiguration by authorised individuals; g. Accidental misconfiguration; h. Threats to the confidentiality and integrity of customer data. i. Equipment failures; j. Accidents and disasters such as fire, flood, etc. k.Third party supplier disruption l. Short-term events affecting personnel/site availability/service continuity, such as: l.i. Minor illness l.ii. Local/short-term industrial action l.iii. Minor fuel shortage affecting travel l.iv. Short-term utilities disruption to water, electricity and gas l.v. Conventional terrorist attacks affecting a district or borough l.vi. Biological/Chemical terrorist attacks affecting a district or borough l.vii. Nuclear terrorist attacks affecting a district or borough l.viii. Transport disruption affecting a district or borough l.ix. Meteorological events m. Long-term events affecting personnel/site availability/service continuity, such as: m.i. Pandemic m.ii. National/long-term industrial action m.iii. Long-term fuel shortage affecting travel m.iv. Long-term utilities disruption to water, electricity and gas m.v. Conventional terrorist attacks affecting a county or larger m.vi. Biological/Chemical terrorist attacks affecting a county or larger m.vii. Nuclear terrorist attacks affecting a county or larger m.viii. Transport disruption affecting a county or larger m.ix. Climatic events n. Use of High Risk Vendors in E2E services o. Use of components within the E2E service that are End of Life or out of support for security patches Measurement and recording of achieved availability must be carried out for each service or service slice, in line with the methods defined in Chapter 5 of the Security Procedures. Availability modelling should be carried out to identify the expected availability of each assured service. The modelling approach used to estimate availability of platforms and services should be in line with the approaches identified elsewhere in this security procedure, including for the combination of service slice availabilities and service availabilities. | Does the identification of risks consider internal, external, deliberate and accidental threats and are all assets within the scope of the ISMS part of the risk assessment? Evidence could include, but is not limited to: Risk assessments of all assets within the ISMS scope that cover all the scenarios detailed in this control. Risk treatment approaches for the identified risks. Controls selected to manage the identified risks. Risk Management Process / Policy documents Business Continuity Policy Business Continuity Plans / Business Impact Analysis / IT Service Continuity Plans / Availability Plans Supply Chain Continuity Management Process | Does the organisation ensure that equipment and information is sited appropriately to manage environmental risks to equipment, personnel and information e.g. flooding and prevent unauthorised access, including overlooking?
6.1.2.d | Risk assessment | Mandatory | Y | Failure modes capable of causing significant loss of platform availability must be identified. Significant loss of availability is any loss that would require a record to be made for audit purposes. | Are all risks subject to analysis?
6.1.3.a | Risk treatment | Mandatory |  | Risks to the availability of customer data must not simply be transferred or accepted without mitigation and the following top-level principles must be followed in applying controls: a. Critical equipment can withstand denial-of-service attacks; b. Critical equipment and critical applications protect management channels against unauthorised access; c. The effect of critical equipment, or environment or other supporting service failures on service availability does not cause it to fall below the target availability of the Security Procedures; d. Operational management takes place within protected areas; e. Access to critical equipment and critical applications is only possible by authorised personnel; f. Critical equipment and critical application user interfaces protect against accidental misconfiguration. For each failure mode identified in clause 6.1.2.d), a CNSP must identify the design approach used to mitigate these risks to within acceptable limits, such as resilience, redundancy, spares holding, etc. The CNSP must determine the level of mitigation such that the overall availability of a service over the audit period is not expected to fall below the minimum required by the Security Procedures. | Do all controls selected within the ISMS reference the requirement that resulted in their selection (e.g. legal, regulatory and contractual)?
6.1.3.b | Risk treatment | Mandatory |  | Controls designated as mandatory in the Security Procedures must be selected. | Are all mandatory and critical controls for the Security Procedures Telecommunications Systems and Services selected within the ISMS?
7.5.1.b | Records management | Mandatory |  | Records of all significant losses of availability must be generated and kept for audit purposes and for the agreed audit period. Significant loss of capability is any loss where the duration of an outage would exceed the minima defined in the Security Procedures. | Are all audit records required from legal, regulatory and contractual obligations recorded (e.g. records of all significant losses of availability being generated and kept for audit purposes and for the agreed audit period)?
9.1 | Control performance | Mandatory | Y | Evidence of the approach to availability calculations should be made available to auditors, including for the component service slices and the overall resultant services. The CNSP must implement a comprehensive Continual Service Improvement Process which will review, identify areas requiring improvement and implement positive changes to their processes, procedures and solutions to improvement the services provided to their consumers. These changes shall be monitored to evidence they have been successful. | Does the organisation ensure that ability of the controls selected within statement of applicability meet the intended outcome of risk mitigation and the needs of identified legal, regulatory and contractual obligations?
A.5.1.1 | Security Policy | Mandatory |  | A formal security policy must exist. Security policy documents should be:  Written in clear plain English  Approved by management  Available to and read by the individuals to whom they apply  Supported by further guidance and procedures as required | Has an Information security policy document been developed and implemented? This must be approved by management, made available internally within the organisation, to external parties affected by it and referenced in the overall business strategy and security awareness programmes.
A.5.1.2 | Audit | Mandatory |  | The policies for information security should be reviewed at least annually. | Has the organisational information security policy been subject to formal review on at least an annual basis?
A.6.1.1 | Human resource management | Critical | Y | No additional guidance | Are responsibilities for information security and information risk management clearly defined and accepted by the individuals holding those responsibilities?
A.6.1.2 | Access management | Mandatory |  | Staff carrying out security roles, for example, auditing or issuing permits to work, should not have a conflict of interest, i.e. they should not also be carrying out the work to be audited, etc. It is also recommended that separate teams manage security-specific infrastructure such as firewalls and gateways and intrusion detection systems where possible. CNSPs should consider whether there are measures that will limit the ability for a single authorised person to disable an entire operational network, or limit the number of people able to do so. | Does the organisation segregate duties where users conduct privileged actions, e.g. account creation, change to user permissions, account deletion or access to and processing of protective monitoring logs? Are privileged actions attributable to a single individual?
A.6.1.3 | Incident management | Mandatory | Y | Incident management plans should be implemented that indicate who is authorised and what contact is to be made with external authorities and agencies (e.g. police, fire, regulatory and other external security authorities). | Are incident management plans implemented that indicate what contact is to be made with external authorities and agencies (e.g. police, fire and external security authorities)?
A.6.1.4 | Governance | Non-mandatory | Y | Process interfaces must be implemented to ensure that CareCERT alerts feed into identification of threats for risk management and vulnerability management processes. | Does the organisation maintain contact with relevant security interest groups and professional associations, for example the British Computer Society (BCS), the Institute of Information Security Professionals (IISP), the Information Security Forum (ISF) etc. and security authorities such as CESG and CPNI?
A.6.1.5 | Governance | Mandatory | Y | CNSPs may start projects that affect existing systems in a ISO27001:2013 scope, or that intend to expand the scope of a certification. A process should ensure that the appropriate ISO27001:2013 controls are applied in these projects. When defining the process CNSPs should consider the change process (see Chapter 4 – Change Management). | Are Information Security functions included when project requirements are generated, and are projects assessed against threats, vulnerabilities and controls assessed during risk assessment activities?
A.6.2.1 | Portable device management | Mandatory |  | No additional guidance | Does the organisation have a policy on remote working (e.g. home or mobile) that establishes controls to manage the risks of working in non-corporate environments on mobile devices (e.g. hard disk encryption, VPNs etc.)?
A.6.2.2 | Access management | Mandatory |  | CNSPs should consider the additional risk posed by working from uncontrolled locations, or potentially uncontrolled equipment. CNSPs should determine whether controls should be strengthened to reduce this risk. Home-working controls should be determined by a risk assessment and suitable controls applied as appropriate, e.g. lockable filing cabinets, clear desk policy, access controls for computers and secure communication with the office. See also Security considerations for common enterprise IT decisions (reference [e]). | Does the organisation have a policy on remote working (e.g. home or mobile) that establishes controls to manage the risks of working in non-corporate environments?
A.7.1.1 | Human resource management | Mandatory |  | CNSPs must conduct background checks on all staff within scope. CNSPs must be able to demonstrate the process that is followed for conducting background checks on personnel in scope. Background verification checks on all candidates for employment, contractors and third party users should include (subject to what is permitted by local legal restrictions): Identity verification Candidates to provide a document containing the individual’s photograph, such as a passport or UK driving licence and a document providing the individual’s current address, such as a recent utility bill, bank statement or council tax bill. Right to work in the relevant jurisdiction Prospective employers should be aware of their responsibilities in terms of the Immigration, Asylum and Nationality Act 2006 in the UK that prevent illegal working and any applicable laws outside the UK when appropriate. References Prospective employers should check a minimum of three years’ (ideally five years’) previous employment, independently confirm the employer’s existence and contact details, confirm details with HR where possible and desirable, request an employer’s reference from the line manager and obtain a personal reference. Confirm claimed academic and professional qualifications Prospective employers should request original certificates and take copies, compare details on certificates, etc, with those provided by the applicant, independently confirm the existence of the educational establishment or professional organisation and confirm the details. Curriculum Vitae / Application form Prospective employers should check for completeness and accuracy the applicant’s CV and/or the application form. Criminal records check Where local legal restrictions allow, conduct criminal records checks. As a minimum, prospective employers should ask the candidate to complete a criminal record declaration. Existing staff who fall within scope In cases where existing staff fall within the scope of this security procedure, then provided an equivalent process for background checking (with the exception of criminal record checks) has been in place for three years or more, no additional checking is required. Otherwise, background checks must be conducted on such staff to satisfy the requirements of this security procedure, with the exception of criminal records checks. There is no requirement to submit individual clearance details to NCSC. | Does the organisation employ personnel security controls and background checks that follow the principles of the Baseline Personnel Security Standard (BPSS) to all staff and contractors with access to applications, host systems and/or network devices within the scope of the ISMS?
A.7.1.2 | Human resource management | Mandatory |  | No additional guidance | Are information security responsibilities included in terms and conditions of employment and all contractual agreements with external service providers who provide the service?
A.7.2.1 | Governance | Mandatory | Y | No additional guidance | Are managers responsible for ensuring that all employees and non-consumer users of the applications, host systems and/or network devices within the scope of the ISMS are aware of and carry out their responsibilities in support of information security?
A.7.2.2 | Human resource management | Mandatory |  | No additional guidance | Is formal security education, training and awareness training provided to all staff and contractors with access to applications, host systems and/or network devices within the scope of the ISMS?
A.7.2.3 | Human resource management | Mandatory |  | No additional guidance | Are staff and contractors with access to applications, host systems and/or network devices within the scope of the ISMS provided with clear guidance on the disciplinary process for accidentally or deliberately compromising protectively marked or sensitive information?
A.7.3.1 | Human resource management | Mandatory |  | No additional guidance | Are all staff and contractors made aware of their on-going responsibilities not to divulge information once their employment has been ended?
A.8.1.1 | Asset management | Mandatory |  | In a CNSP some or the entire asset inventory may be held in existing asset management systems or configuration management databases. In this case the inventory required by this control may reference these existing systems. There is no intent to require substantial duplication. | Are all assets within the scope of the ISMS identified and formally recorded?
A.8.1.2 | Asset management | Mandatory |  | Owners of assets shall ensure that the following activities are undertaken on their assets: - Vulnerabilities are managed in accordance with A.12.6.1 - Notification of being out of support for security patches shall be deemed a security incident - Notification of an asset being provided by a vendor on the High Risk Vendors list shall be deemed a security incident - Notification of being End of Life (EoL) for security patches shall be deemed a critical security vulnerability from the EoL date, with mitigations implemented within timescales defined in A.12.6.1 | Are all assets within the scope of the ISMS owned by a designated manager within the organisation and is this ownership formally accepted?
A.8.1.3 | Governance | Mandatory | Y | No additional guidance | Is security education and awareness is built into all staff inductions, supported by policies governing acceptable use and with regular familiarisation afterwards?
A.8.1.4 | Asset management | Mandatory |  | No additional guidance | Does the organisation ensure that information assets, including software and hardware, is included in the employment termination process? Is this process supported by making all staff aware of their responsibilities to protect and return these assets through initial and on-going security training and awareness programmes and it should be clearly documented in security operating procedures?
A.8.2.1 | Information management | Mandatory |  | No additional guidance | Are all assets within the scope of the ISMS valued according to the business impact of compromise of confidentiality, integrity and availability according to formal guidance?
A.8.2.2 | Asset management | Mandatory |  | No additional guidance | Is information processed by assets within the scope of the ISMS classified and handled according to its business impact?
A.8.2.3 | Information management | Mandatory |  | No additional guidance | Are procedures for handling assets developed and implemented in accordance with the information classification schemes adopted by the organisation?
A.8.3.1 | Media management | Mandatory |  | Information held on removable media should be protected in alignment with the handling requirements specified for the most sensitive category of information likely to be stored on the device. For any classified UK government information, the HMG Security Policy Framework (reference [c]) should take precedence. | Has your organisation implemented policies and procedures for the control of, protection of, secure use of, management of and secure destruction of removable media?
A.8.3.2 | Media management | Mandatory |  | Formal guidance and procedures should exist to ensure that information related to the scope of the service held on electronic storage media* is destroyed/sanitised in alignment with the requirements specified for the most sensitive category of information likely to be stored on the media. Where media contains HMG classified data the policies for secure sanitisation included in HMG Information Assurance Standard No. 5 (reference [f]) must be followed. Use of a company that has a CAS(S) certificate (reference [g]) is one way to comply with IS 5. * For example: removable and fixed hard disk drives, CDROMs, floppy disks, USB memory sticks, storage tapes and memory expansion cards | Is all electronic storage media (e.g. Removable and fixed hard disks drives, CDROMs, floppy disks, USB memory sticks, storage tapes and memory expansion cards) containing information/configuration files related to the service being provided sanitised, destroyed or re-used as appropriate?
A.8.3.3 | Media management | Mandatory |  | No additional guidance | Does the organisation ensure that physical and removable media is only be used to transport information when the transfer cannot be achieved using a secure network connection, (for example when a secure network connection is unavailable from the client for technical, financial or operational reasons) and ensure that all media in transit is protected in a manner appropriate to its sensitivity?
A.9.1.1 | Access management | Critical | Y | The scope of this policy must include all access, by all parties, to critical systems. The policy must cover:  Formal authorisation of access requests  Requirements for periodic review of access rights  Removal of access rights  That the default configuration for access to critical systems should be none and access is only granted after formal authorisation | Has the organisation implemented a formal access control policy for both physical and logical access to applications, host systems and/or network devices within the scope of the ISMS to ensure that access to information is controlled and based on the ‘need to know’ principle and on a ‘least privilege’ basis?
A.9.1.2 | Access management | Mandatory |  | Where management networks are used for controlling critical equipment, the access to these networks must be restricted to authorized users. | Has the organisation implemented a policy covering the authorised access to and use of networks and network services, especially to those network segments within the scope of the ISMS?
A.9.2.1 | Access management | Mandatory |  | No additional guidance | Has the organisation implemented a formal procedure to register, grant and revoke users access to information?
A.9.2.2 | Access management | Mandatory |  | No additional guidance | Is a formal user access provisioning process implemented to assign or revoke access rights for all user types to all systems and services?
A.9.2.3 | Access management | Critical | Y | Wherever possible, role-based access controls should be used to ensure that only the privileges required to perform a given role are granted. Where elevated privileges are required, such as system and network administration roles, separate credentials should be created that are used solely for that purpose. Third party support staff should only have access to the particular type of equipment that they need to work on, and only for the limited time required to perform the function. | Does the organisation ensure that limits are placed on user and application privileges to access and process information to only those required to perform the business function (‘least privilege’)? Are the privileges allocated to users reviewed periodically and privileges revoked when they are no longer needed, immediately when a user’s employment has been terminated?
A.9.2.4 | Access management | Mandatory |  | Default accounts should be removed/locked where possible. Default passwords should be changed. Where this is not possible, additional controls must be in place Passwords should be audited on a regular and ongoing basis to ensure compliance with policy OR policy should be enforced through technical controls. As far as possible, privileged accounts should use two-factor authentication. | Does the organisation control the allocation of passwords by: - issuing them to users only when their identity has been confirmed. - requiring users to formally accept that they that passwords must not be disclosed. - changing passwords from the manufacturers default values?
A.9.2.5 | Access management | Mandatory |  | No additional guidance | Does the organisation review users' access rights to applications, host systems and/or network devices within the scope of the ISMS periodically and when a user's role changes?
A.9.2.6 | Access management | Critical | Y | Where accounts are created on an interconnect partner’s equipment the interconnect partner should also be notified to close or modify access permissions as appropriate. | Does the organisations ensure that all access rights and permissions assigned to staff and contractors with access to applications, host systems and/or network devices within the scope of the ISMS are revoked on termination of their employment. Is the revocation of access rights and permissions included in processes and security operating procedures management and administration of IT systems?
A.9.3.1 | Access management | Mandatory |  | All actions on the management system that result in the reconfiguration of critical equipment should be traceable to a unique user ID, specific to an individual. If management users need to share passwords for a particular component (for example, to configure a particular network element) then this should be preceded by a separate, auditable log-on, so that individual users remain accountable for any reconfiguration that takes place. | Does the organisation provide staff who have access to applications, host systems and/or network devices within the scope of the ISMS with guidance on their responsibilities for password generation, selection and protection? Are additional controls implemented to set password complexity rules and enable inbuilt password complexity checking (if available); instruct users to never divulge their password and if a password is written down, to physically protect the paper copy at a level commensurate with the level of information to which it provides access?
A.9.4.1 | Access management |  |  | No additional guidance | Is access to information/configuration files on applications, host systems and/or network devices controlled by access control policy on a ‘need to know’ and ‘least privilege’ basis?
A.9.4.2 | Access management | Mandatory |  | Authentication to critical applications and critical equipment should use secure protocols that do not pass plaintext passwords across the network. For example, telnet should be replaced with SSH v2 and older versions of SNMP should be updated. Correct operation should be audited. Where third parties (for example, equipment vendors) require access to carry out support activities, this should normally be permitted only for an agreed time period, in line with planned work. Management access to critical equipment and critical applications from public locations should be controlled using a mechanism that provides protection against unauthorised configuration of the equipment or application. Authentication of remote users can be achieved using a cryptographic based technique or a challenge response protocol. Password authentication should be combined with an effective restriction on the possible source of authentication to known source locations. | Is access to applications, host systems and/or networks devices within the scope of the ISMS by secure connection methods?
A.9.4.3 | Access management | Mandatory |  | CESG password guidance (reference [h]) should be followed. | Does the organisation use passwords on user accounts, enforce complexity rules and carry out appropriate pre-employment checks before allocating a user account?
A.9.4.4 | Configuration management | Mandatory | Y | Critical equipment and platforms running critical applications should be hardened and all unnecessary applications or services removed. This process should be included in documented operating procedures. Network elements such as routers should follow published good practice guidance from vendors where possible. | Are all applications, host systems and/or network devices within the scope of the ISMS configured to only allow the functions required; with the use of any system utility application that has the potential to override/change any functional or security configuration subject to strict control?
A.9.4.5 | Access management | Mandatory |  | No additional guidance | Does the organisation limit access to source code and related designs and specifications used within customised applications used to provide the service to only those that require the access in support of the business function?
A.10.1.1 | Cryptography management | Non-mandatory |  | Policies should state that cryptographic controls are required where appropriate to protect information that could facilitate a physical or technical attack or to protect data about customers. | Does the organisation implement a policy on where encryption techniques are to be used, the acceptable encryption techniques to be used and how they are to be implemented?
A.10.1.2 | Cryptography management | Non-mandatory |  | No additional guidance | Does the organisation protect encryption keys and key generation devices against loss, modification or disclosure?
A.11.1.1 | Access management | Mandatory |  | Risk Assessment Approach CNSPs should use a risk assessment process to determine the physical security controls to apply at each site. The full guidance is most appropriate for a high value site in a high-risk location. The process should: (a) Rank sites taking into account factors such as how critical the sites is to the availability of the network, and the physical security risks posed by the site’s location. (b) Determine the physical security controls generally appropriate for each level, selecting controls from the guidance included in this standard (or other good sources). (c) Audit and monitor the actual security on sites to determine whether there are gaps in controls. (d) Record and manage any risks resulting from these gaps, or other problems. Control Guidance CNSPs should have a defined and fenced or walled boundary to each site, unless prohibited by land ownership issues or planning constraints. Fences and walls should be integrated with security lighting and surveillance capability in the form of closed circuit television (CCTV) and/or a perimeter intruder detection system (PIDS). CNSPs should limit the number of vehicle and pedestrian access points commensurate with business needs and security. A secure site should have a main entrance and an alternative entry/exit point for emergency access/egress. Separate pedestrian and vehicle access should be provided. Wherever possible, all vehicles should be parked outside the perimeter. Parking should, in any case, be confined to designated areas and measures should be put in place to prevent unknown vehicles parking close to critical parts of the site. Vehicle details and vehicle occupants’ identities should be pre-notified and should be screened before granting access to site. Rejected vehicles should not be permitted to encroach onto the site or building perimeter. Perimeter Fences Fences should conform to BS1722 Part 10 (anti-intruder) (reference [i]), Part 12 (palisade) (reference [j]) or Part 14 (open welded mesh) (reference [k]). Fences should be kept free from all vegetation and obstructions to a distance, wherever possible, of 5 metres on either side of the fence to permit unobstructed surveillance. Gates should be of equivalent standard to the fence and be fitted with protected hinges on the defender’s side. Electrically operated gates should be capable of being safely secured and locked manually. Perimeter Walls Where a wall is built in lieu of a fence, it should provide broadly equivalent protection to a BS1722 fence. If in doubt, consult CPNI for advice. Vehicle Barriers Where a threat assessment mandates the use of impact-tested vehicle security barriers, consult CPNI for advice. Building Structure The standard of wall, ceilings and floors should be commensurate with the value of assets to be protected. It is recommended that rooms containing critical assets are of solid construction (e.g. brick or block). Plasterboard stud partition walls are not considered adequate. Existing walls, ceilings and floors which are not sufficiently robust should be reinforced. Voids above and below false floors and ceilings should be closed off using an equivalent standard of material to the walls themselves. Doors and Locks Normal entry doorsets accessing critical areas should be certified to LPS 1175: Issue 7 (reference [l]), security rating 3. These doorsets should be supplied with a compatible locking system as specified in the LPCB Red Book, volume 1 List of approved fire and security products and services (reference [m]). A strict key control policy should be in place and enforced. Fire doorsets leading from critical areas should be certified to LPS 1175: Issue 7 (reference [l]), security rating 3, permanently alarmed and monitored and fitted with compatible emergency exit devices conforming to BS EN 179 (reference [n]), or panic exit devices conforming to BS EN 1125 (reference [o]). Electric locks on doors leading to critical areas should be controlled by either the guard force or an Automatic Access Control System (AACS). The use of magnetic locks is not recommended and they should not be used on external doors. Doors should also be fitted with an intruder alarm contact and lock status monitor, connected to the Intruder Detection System (IDS). Windows and Apertures All ground floor, basement or other easily accessible windows which allow access to critical areas should be certified to PAS 24:2012 (reference [p]), and securely fixed to the building fabric. Windows and apertures such as ventilation ducts or service hatches (greater than the test block specified in LPS 1175: Issue 7, section 4.3 (reference [l]) should be key lockable and protected by internal grilles or external roller shutters, preferably certified to LPS 1175: Issue 7 (reference [l]), security rating 3. Where considered necessary, windows should also be protected against blast damage by:  Installing laminated glass (recommended for new and refurbished buildings). For exact specification, refer to the CPNI Website (reference [q]) or the CPNI Good Practice Guide  Installing blast resistant secondary glazing inside current exterior glazing  Applying anti-shatter film (ASF) of appropriate thickness to existing glazing and providing bomb blast net curtains where necessary Where existing business critical services rely on air conditioning to maintain system temperature and hence business operations, then consideration should be given to enhancing glazing blast protection to prevent a disproportionate impact from a relatively small Improvised Explosive Device (IED). Intruder Detection Systems Critical areas should be protected by an IDS. IDS should comply with BS EN 50131-1:2006 (reference [r]) and the Association of Chief Police Officers’ (ACPO) Policy for security systems (reference [s]). Only alarm systems meeting these requirements will qualify for the issue of a Unique Reference Number (URN) and police response. Single detector activations will not qualify for police response but should never be ignored. If the activation is the result of a fault, or bad practice for example, a door or window not being properly secured, it should be investigated and rectified as soon as possible. In co-location buildings the IDS should be designed and programmed to match user access rights within the building. It must not be possible for staff, contactors, security guard force or others with limited access rights to unset the IDS throughout a building. Manned Guarding All contract security guards should be licensed by the Security Industry Authority (reference [t]). In-house guards should be trained to the same level as contract guards. All security officers should be security screened to BS7858:2012 (reference [u]). Static guarding, mobile patrols and key-holding services should comply with BS 7499:2013 (reference [v]). Organisations should consider carefully what level of access guards have to critical assets (including access to room and cabinet keys). Security officers should not be able to access critical areas without sound business or operational reasons. Security guards who are tasked to manage access controls systems should not be able to edit the computer audit logs and these logs should be examined by internal security management at least weekly. Intruder alarm systems covering critical areas should never be set and monitored by a single guard who inevitably becomes a single point of failure. The monitoring and investigation of alarms from within the same site is not recommended. Security Lighting Uniform security lighting provides an effective deterrent against intruders, reduces cover of darkness, can aid the patrolling guard force, aid CCTV coverage and enhance safety during hours of darkness. Lighting should be a minimum of 5 lux and cover all potential points of entry, the perimeter of the critical asset and, where applicable, the asset itself. It should be designed to limit light pollution and enhance CCTV capability. Closed Circuit Television (CCTV) Before installing a CCTV system, organisations should produce an Operational Requirement, detailing exactly what the CCTV system is intended for. Detailed guidance is given in the Home Office Scientific Development Branch (HOSDB) CCTV Operational Requirements Manual (reference [w]). Exterior cameras should be capable of viewing approaches to the building and its exterior; including all vehicle and pedestrian access control points, external doors and any vulnerable windows. The cameras should be tested to ensure that they perform to the required standards in different lighting and weather conditions. Vehicle and pedestrian access control points on the site boundary should be monitored with CCTV. The cameras should be tested to ensure that they perform to the required standards in different lighting and weather conditions. Internal cameras may be installed to cover the approaches to rooms, doors or the interior of rooms. Doors leading to and from critical areas or rooms should be monitored by CCTV. Further advice should be sought before installing CCTV inside sensitive areas. CCTV should be monitored in real time and the images should be recorded and retained for a minimum of 31 days. The recording device should be in a secure area where it cannot be accessed by unauthorised people. It should be feasible to download or copy images from the recorder easily to assist the police if they are required as part of an investigation. | Does your organisation ensure that physical perimeter controls are implemented at sites containing information assets, host systems and/or network devices within the scope of the ISMS?
A.11.1.2 | Access management | Critical | Y | It is important to manage the access of third party suppliers and support staff to critical areas. Barriers controlled by automatic access control systems (AACS) may fail open under fire alarm or power failure conditions. Therefore, doors into critical areas should fail secure (ie locked) from the attack side, provided that there is a suitable means of escape from inside. Fire authority agreement should be sought when designing locking systems and entry/exit routes and procedures. Organisations should ensure that staff undergo suitable pre-employment screening and, where necessary, security checks before giving them an automatic entry card or token. This applies equally to in-house and contract staff, and other licensed operators in unbundled exchanges. The AACS should allow different levels of user access to be set, thus allowing people access only to those areas they need to go into for business reasons. The principle of least privilege should apply. In co- location locations or unbundled exchanges, other licensed operators should only be able to enter the multi-user area. Organisations should ensure that their AACS is managed securely by trusted staff and that card/token issue is strictly controlled through an authorisation process. Regular independent audits should be conducted of AACS event logs to detect irregular card/token issue, odd patterns of activity, or attempts to gain access to areas outside normal permissions. Any irregularities should be thoroughly investigated. Organisations should not give third parties (e.g. contractors, visitors) their own automatic entry card or token without a strong business reason. Organisations should have a process to disable immediately any cards or tokens which are reported missing, lost or stolen or whose users have left the organization. Passes Automatic entry cards may double as a visible pass. It is recommended that all pass holders are required to visibly wear a photographic pass, thus making those who are on the premises without permission readily apparent. Anyone seen without a pass should be challenged and, where necessary, reported to security staff/management. Visitors Organisations should make suitable arrangements to handle visitors. A process of prior notification should be established, together with a robust process for dealing with unexpected visitors. Visitors should be issued with a pass that clearly identifies them as such. The identity of visitors should be verified using agreed forms of photographic identification and a record made of their visit. Visitors’ personal information should be protected against unauthorised access or viewing. Organisations should ensure that all visitors are supervised unless their unescorted access has been approved previously. In any event, they should only be granted access for specific, authorised purposes. Organizations should determine and promulgate a search policy for staff, visitors and contractors, to discourage them from bringing inappropriate items into the premises or removing assets without authorization. Entry and exit searches should be undertaken to detect the unauthorized removal of property, or attempts to introduce unauthorized items. | Does the organisation ensure that windows, doors, locks and entry controls meet appropriate security standards in rooms holding information assets, host systems and/or network devices within the scope of the ISMS?
A.11.1.3 | Access management | Non-mandatory |  | Buildings should be unobtrusive and give minimum indication of their purpose, with no obvious signs, outside or inside the building, identifying the presence of information processing activities. Critical areas should not be sited where the public might gain access. Account should be taken of relevant health and safety regulations and standards. | Does the organisation ensure that access to sites holding information assets, host systems and/or network devices within the scope of the ISMS is controlled and only granted on a ‘need to know’ basis?
A.11.1.4 | Business continuity planning | Mandatory | Y | To reduce the risk of damage from fire, flood, earthquake, explosion, civil unrest and other forms of natural or man-made disaster:  Fallback equipment and back-up media should be sited at a safe distance to avoid damage from a disaster affecting the main site  Hazardous or combustible materials should be stored at a safe distance from critical areas  Bulk supplies such as stationery should not be stored within a critical area  Appropriate fire fighting equipment should be provided and suitably placed Organisations should conduct a risk assessment of any security threats presented by neighbouring premises, for example, a fire in an adjacent building, water leaking from the roof or in floors below ground level or an explosion in the street. | Does the organisation assess the physical risk to the sites, information assets, host systems and network devices within the scope of the ISMS from external environmental and location threats and implement controls accordingly? Evidence could include, but is not limited to: Risk assessments of assets within the ISMS scope that cover all the scenarios detailed in this control. Risk treatment approaches for the identified risks. Controls selected to manage the identified risks. Site surveys showing suitability of environmental controls Corrective and Preventative actions relating to feedback from surveys or failures Risk Management Process / Policy documents | Does the organisation ensure that equipment within the scope of the ISMS is appropriately protected from any risks posed from the loss of or interruption of supporting utilities (for example, loss or degradation of power supplies)?
A.11.1.5 | Access management | Mandatory |  | Personnel should only be made aware of the existence of, or activities within, critical areas on a need-to-know basis. Unsupervised working in critical areas should be avoided both for safety reasons and to prevent opportunities for malicious activities. Vacant areas close to critical areas should be kept locked and periodically checked. Photographic, video, audio or other recording equipment, such as cameras in mobile devices, should not be allowed into critical areas unless authorized. The arrangements for working in critical areas should include controls for the employees, contractors and third party users working in the area, as well as other third party activities taking place there. | Does the organisation ensure that access to areas holding information assets, host systems and/or network devices within the scope of the ISMS is controlled and only granted on a ‘need to know’ basis? Are controls implemented to prevent unauthorised access, including plans and procedures for dealing with attempted or actual unauthorised access, including staff being made aware of the procedures, requirements and their responsibilities for working in secure areas?
A.11.1.6 | Access management | Mandatory |  | Access to a delivery and loading area from outside the building should be restricted to identified and authorized personnel. The delivery and loading area should be designed so that supplies can be unloaded without delivery personnel gaining access to other parts of the building. The external doors of a delivery and loading area should be secured when the internal doors are opened. Incoming material should be inspected for potential threats (see 11.2.1) before this material is moved from the delivery and loading area to the point of use. Incoming material should be registered in accordance with asset management procedures (see also 8.1.1) on entry to the site. Incoming and outgoing shipments should be physically segregated, where possible. High value goods should not be stored in delivery and loading areas, as they are more vulnerable to theft. | Does the organisation protect information assets, host systems and network devices within the scope of the ISMS from unauthorised physical access; which considers areas to which the public have access or areas where access may be provided to facilitate deliveries?
A.11.2.1 | Business continuity planning | Mandatory | Y | Equipment should be sited so as to minimise unnecessary access into critical areas. Information processing facilities handling sensitive data should be positioned and the viewing angle restricted, to reduce the risk of information being viewed by unauthorised persons during their use. Information storage facilities should be secured to avoid unauthorised access. Controls should be adopted to minimize the risk of potential physical threats, e.g. theft, fire, explosion, smoke, water (or water supply failure), dust, vibration, chemical effects, nuclear radiation, electrical supply interference, communications interference, electromagnetic radiation, and vandalism. Guidelines for eating, drinking, and smoking in proximity to information processing facilities should be established and promulgated. Environmental conditions, such as temperature and humidity, should be monitored for conditions that could adversely affect the operation of information processing facilities. The use of special protection methods, such as keyboard membranes, should be considered for equipment located in industrial environments. Lightning protection should be applied to all buildings and lightning protection filters should be fitted to all incoming power and communications lines. Equipment processing sensitive information should be protected to minimize the risk of information leakage due to emanation. | Does the organisation ensure that equipment and information is sited appropriately to manage environmental risks to equipment, personnel and information e.g. flooding and prevent unauthorised access, including overlooking? Evidence could include, but is not limited to: Risk assessments of assets within the ISMS scope that cover all the scenarios detailed in this control. Risk treatment approaches for the identified risks. Controls selected to manage the identified risks. Business Continuity Plans / Business Impact Analysis / IT Service Continuity Plans / Availability Plans Site surveys considering the environmental risks, including recommendations Corrective and Preventative actions relating to feedback from surveys or failures | Does the organisation regularly monitor system performance and usage to ensure continued service availability and anticipate future service requirements?
A.11.2.2 | Business continuity planning | Mandatory | Y | Telecommunications equipment should be connected to the utility provider by at least two diverse routes to prevent failure in one connection path from removing voice services. Voice services should be adequate to meet local legal requirements for emergency communications. All supporting utilities, such as electricity, water supply, sewage, heating/ventilation, and air conditioning should be adequate for the systems they are supporting. Support utilities should be regularly inspected and tested to ensure their proper functioning and to reduce any risk from their malfunction or failure. An uninterruptible power supply (UPS) to support orderly close-down or continuous running should be provided for equipment supporting critical business operations. Power contingency plans should cover the action to be taken on failure of the UPS. Back-up generator power should be provided if processing is required to continue in case of a prolonged power failure. An adequate supply of fuel should be available to ensure that the generator(s) can perform for a prolonged period (normally 72 hours running at full load). UPS equipment and generators should be checked regularly under full load to ensure they have adequate capacity. Emergency ‘power off’ switches should be located near emergency exits in equipment rooms to facilitate rapid power down in case of an emergency. Emergency lighting should be provided in case of mains power failure. The water supply should be stable and adequate to supply air conditioning, humidification equipment and fire suppression systems (where appropriate). Malfunctions in the water supply system may damage equipment or prevent fire suppression from acting effectively. An alarm system to detect malfunctions in the supporting utilities should be evaluated and installed if required. Access to business-critical utilities and services should be protected physically and, wherever possible, covered from view. | Does the organisation ensure that equipment within the scope of the ISMS is appropriately protected from any risks posed from the loss of or interruption of supporting utilities (for example, loss or degradation of power supplies)? Evidence could include, but is not limited to: Risk assessments of assets within the ISMS scope that cover all the scenarios detailed in this control. Risk treatment approaches for the identified risks. Controls selected to manage the identified risks. Business Continuity Plans / Business Impact Analysis / IT Service Continuity Plans / Availability Plans Site surveys considering the environmental risks, including recommendations High-level design documentation taking route diversity into account. Corrective and Preventative actions relating to feedback from surveys or failures | Does the organisation ensure that formal back-up and restore polices and capabilities are implemented which include: - What information should be backed up; - The required restore period (for both data and the system); - Testing of the restore process; - Testing and checking the backups; - Appropriate offline storage and protection of backup information and media?
A.11.2.3 | Access management | Mandatory |  | Power and telecommunications lines into information processing facilities should be underground, where possible, or subject to adequate alternative protection. Network cabling should be protected from unauthorised interception or damage, e.g. by using a conduit or by avoiding routes through public areas. Power cables should be segregated from communications cables to prevent interference. Clearly identifiable cable and equipment markings should be used to minimise handling errors, such as accidental patching of wrong network cables. A documented patch list should be used to reduce the possibility of errors. For sensitive or critical systems, further controls should include:  Installation of armoured conduit and locked rooms, boxes or covers at inspection and termination points  Use of alternative routings and/or transmission media providing appropriate security  Use of fibre optic cabling  Use of electromagnetic shielding to protect the cables  Initiation of technical sweeps and physical inspections for unauthorised devices being attached to the cables  Controlled access to patch panels and cable rooms | Does the organisation protect power and network cables required for the provision of the service from against accidental or deliberate damage, interference, interception or unauthorised physical access?
A.11.2.4 | Asset management | Mandatory |  | Equipment should be maintained in accordance with the supplier’s recommended service intervals and specifications. Only authorised maintenance personnel may be permitted to carry out repairs and/or to service equipment. Records should be kept of all suspected or actual faults, and all preventive and corrective maintenance. Appropriate controls should be implemented when equipment is scheduled for maintenance, taking into account whether this maintenance is performed by personnel on site or external to the organisation; where necessary, sensitive information should be cleared from the equipment, or the maintenance personnel should be sufficiently cleared. Note: This control is considered to cover such things as ensuring generators will start, air-conditioners are serviced and other typical mechanical servicing issues. Software maintenance (e.g. patching) is covered in other controls. | Does the organisation ensure that all equipment (hardware and software) is maintained by ensuring that those responsible for maintaining applications, host systems and network devices within the scope of the ISMSs are properly trained?
A.11.2.5 | Asset management | Non-mandatory |  | Employees, contractors and third party users who have authority to permit off-site removal of equipment, information or software should be clearly identified. The removal of equipment off-site, and its return, should be recorded. Time limits for equipment removal should be set and returns checked for compliance. The company should establish a policy for carrying out searches and, where applicable, make it part of the employees’ and contractors’ terms and conditions. Staff, contractors, visitors and delivery drivers should be made aware, before access is granted, that they may be subject to entry or exit searches on a routine or random basis. Refusal to comply may be construed as grounds to deny access. Proper authorisation should be obtained for searches, which should be carried out in accordance with relevant legislation and regulations. | Does the organisation ensure that physical and procedural controls are implemented to prevent the unauthorised removal of IT systems, equipment, storage devices, electronic media and other information assets within the scope of the ISMS?
A.11.2.6 | Asset management | Mandatory |  | Regardless of ownership, the use of any information processing equipment outside the organisation’s premises should be authorised by management. Security risks, such as those from damage, theft or eavesdropping, may vary considerably between locations and should be taken into account in determining the most appropriate controls. Equipment and media taken off the premises should not be left unattended in public places. Portable computers should be carried as hand luggage and disguised where possible when travelling. Manufacturers’ instructions for protecting equipment should be observed at all times, e.g. protection against exposure to strong electromagnetic fields. Home-working controls should be determined by a risk assessment and suitable controls applied as appropriate, e.g. lockable filing cabinets, clear desk policy, access controls for computers and secure communication with the office (see also ISO/IEC 27033 Network Security). Staff should be given clear guidance on any steps they need to take to implement this control. Adequate insurance cover should be in place to protect equipment off- site. | Has the organisation implemented policies for home and mobile working for staff engaged in the support and maintenance of the service provided? Policies should include the application of appropriate procedural, personnel, physical and technical controls to secure IT systems and media (e.g. Laptops, PDAs, mobile phones, CDROMs and USB memory sticks) when they are being used offsite.
A.11.2.7 | Asset management | Mandatory |  | Before disposal or reuse devices containing sensitive information must be physically destroyed or the information must be destroyed, deleted or overwritten using techniques that make the information non- retrievable, rather than using the standard delete or format function. Damaged devices containing sensitive data might require a risk assessment to determine whether the items should be physically destroyed rather than being sent for repair or discarded. See IS 5 (reference [f]) for requirements for government classified data. | Does the organisation ensure that all storage media, host systems and/or network devices are securely disposed of or re-used in accordance with formal policies?
A.11.2.8 | Access management | Mandatory |  | Unattended workstations and devices should be subject to appropriate idle session timeout. In some cases, it may be appropriate to restrict access to local terminals rather than allow remote access. Unattended equipment needs to be protected physically, particularly for critical equipment in exposed locations such as customer premises. | Are staff who have access to applications, host systems and/or network devices within the scope of the ISMS instructed to always log off or activate a password protected screen saver when leaving user equipment unattended? Where this cannot be achieved for operational reasons are other physical, procedural or technical controls implemented to address the risks posed to unattended equipment? Are users of mobile devices containing information and/or configuration files related to the service instructed that equipment should not be left unattended in areas where unauthorised access, theft or tampering is possible; and informed of their responsibilities to secure equipment when leaving it unattended?
A.11.2.9 | Information management | Non-mandatory |  | No additional guidance | Has the organisation implemented a clear desk and clear screen policy which states that all papers be locked away when not in use and all IT systems be left in a logged off or password protected state when left unattended?
A.12.1.1 | Operations management | Mandatory | Y | Documented procedures should be available for activities that are likely to affect security or availability including:  Change management  Configuration of all types of critical equipment (e.g. network elements, managers and supporting security equipment)  Problem management (format in accordance with ISO/IEC-20000:2011)  Vulnerability management (including patching) Operating procedures should:  Be treated as formal documents  Have changes authorized by management | Does the organisation ensure that all staff responsible for maintaining applications, host systems and network devices within the scope of the ISMSs have documented operating procedures?
A.12.1.2 | Change management | Critical | Y | Generic changes need only be tested once e.g. adding a new circuit or updating the IOS version of routers. Thorough testing is required on a reference system before changes are implemented on the live network. Evidence of testing and approvals must be maintained and provided on request during an audit. The reference system must be configured to match closely the live system. Realistic data flows should be simulated. Tests of fallback procedures must be considered for high risk changes. The necessary people and resources should be available during the change implementation in case a rapid rollback is required. Changes should be trialled at a local level before being implemented nationally, where possible. Planning must enable urgent changes, such as those due to critical security vulnerabilities, to take place quickly but safely if required. The change control process must ensure that, for changes to critical equipment, any impact on compliance with this security procedure is taken into account. | Does the organisation develop and implement appropriate change control and management processes and plans to maintain an audit trail of configuration changes to application, host systems and/or network devices within the scope of the ISMS and ensure that changes do not affect the secure operation of the service?
A.12.1.3 | Business continuity planning | Mandatory | Y | In addition to business-as-usual capacity planning and implementation, active capacity management should be carried out to ensure that no peering partner or customer can overload the network. It should be possible to identify quickly any excessive use of bandwidth and to limit throughput or disconnect as appropriate. | Does the organisation regularly monitor system performance and usage to ensure continued service availability and anticipate future service requirements?
A.12.1.4 | Access management | Mandatory |  | No additional guidance | Does the organisation enforce separation between development and live systems within the scope of the ISMS to prevent accidental or deliberate compromise of live or operational information and systems, including not using live data in test environments?
A.12.2.1 | Malware management | Mandatory |  | A range of controls should be implemented which provide multiple layers of defence, balancing boundary controls and host-based controls. These should be supported by clear policy on Mobile Code security, e.g. security settings for JavaScript, ActiveX, Java Applets, Flash, document Macro languages and so on. Examples of boundary controls could include: corporate firewalls; email filters and antivirus; web proxies Examples of host-based controls could include: host-based IPS and IDS; host-based firewalls; antivirus solutions; regular patching; restrictions on access rights. | Does the organisation employ controls to manage the risks from malware, including user awareness, and are signature-based controls updated daily?
A.12.3.1 | Business continuity planning | Mandatory | Y | Configurations of network elements should also be backed up, as should previous versions of network element software to allow for restoration. | Does the organisation ensure that formal back-up and restore polices and capabilities are implemented which include: - What information should be backed up; - The required restore period (for both data and the system); - Testing of the restore process; - Testing and checking the backups; - Appropriate offline storage and protection of backup information and media? Evidence could include, but is not limited to: Risk assessments of assets within the ISMS scope that cover all the scenarios detailed in this control. Risk treatment approaches for the identified risks. Controls selected to manage the identified risks. Backup policies Backup test plans Obsolescence planning for backup systems Business Continuity Plans / Business Impact Analysis Business Continuity test plans and results Corrective and Preventative actions relating to feedback from test plans | Have the applications, host systems and/or networks devices within the scope of the ISMS been subject to a technical risk assessment to ensure that the risks associated with connections to external systems or organisations have been taken into account?
A.12.4.1 | Monitoring | Critical | Y | This control covers logging, recording and reviewing:  Security events; and  Faults For critical systems the following logs must be recorded:  Successful and failed authentication attempts For critical systems the following logs should be recorded:  Security relevant logs  Firewall logs The log retention period should be 12 months. Where access is granted to external organisations, CNSPs should monitor for anomalous network traffic and system management activity. Access by third parties to reconfigure critical equipment (e.g. for carrying out maintenance or support) should be monitored closely (for example by recording keystrokes). Systems for the detection of DoS attacks via customer networks should also be implemented where appropriate. An alerting system should be used to filter system event logs and warn administrators of potential security incidents. Procedures should be in place for responding to such alerts. | Does the organisation ensure that applications, host systems and/or network devices within the scope of the ISMS are capable of producing records of user activity to support monitoring, incident response and investigations and that these records are retained and regularly reviewed?
A.12.4.2 | Access management | Mandatory |  | Technical measures should prevent users modifying logs recording their own actions on critical equipment. | Are the audit logs from applications, host systems and/or network devices within the scope of the ISMS protected from unauthorised access?
A.12.4.3 | Monitoring | Mandatory |  | A full history of system administrator and system operator activities on critical equipment and activities must be recorded that includes configuration management and operational changes. Where changes are not automatically logged change management procedures must record the reason for the change and the details of what was changed The log retention period should be 12 months. | Are applications, host systems and/or network devices within the scope of the ISMS capable of generating audit logs for all privilege access, and are these logs protected from modification and regularly reviewed?
A.12.4.4 | Configuration management | Mandatory | Y | Clocks should be synchronised to Coordinated Universal Time (UTC) using a source derived from the UK National Physical Laboratory or GPS. This is to facilitate potential investigations requiring the correlation of events across different organisations. | Has the organisation implemented a reliable means to keep all server and device clocks of the applications, host systems and/or network devices within the scope of the ISMS in synchronisation (examples are NTP servers and atomic clocks)?
A.12.5.1 | Configuration management | Mandatory | Y | No additional guidance | Has the organisation established a configuration control process to prevent unauthorised installation of software onto applications, host systems and/or networks devices within the scope of the ISMS? Additionally, does the organisation ensure that security updates/patches applicable to the applications, host systems and/or network devices within the scope of the ISMS are identified, assessed, tested and applied according to formal processes?
A.12.6.1 | Vulnerability management | Critical | Y | CNSPs shall be able to demonstrate:  The measures taken to obtain timely information about technical vulnerabilities affecting critical equipment and critical applications; and  How the organisation's exposure to such vulnerabilities is evaluated and addressed, including:  Disabling of unnecessary services  Patching of vulnerabilities; and  Secure configuration of services that are in use Vulnerabilities shall be assessed within the E2E service using the Common Vulnerability Scoring System (CVSS) version 3.1 to define response times as follows: Critical vulnerabilities (CVSS 9.0-10) o 14 days from release of patch (for external interfaces) o 30 days from release of patch (for internal interfaces) High vulnerabilities (CVSS 7.0-8.9) o 30 days from release of patch (for external interfaces) o 90 days from release of patch (for internal interfaces) Other vulnerabilities (CVSS below 6.9) o 90 days from release of patch (for external interfaces) o As part of normal patching cycle (for internal interfaces) Response times should be patched in line with the above requirements unless mitigating measures or reasons have been agreed with the auditor. Notifications that components within the E2E service are deemed to be End of Life and will not receive security patches shall be deemed as a CVSS 10.0 rating and require mitigations to be implemented accordingly from the date where security patches will not be supplied. Various sources of information are available, depending upon the platforms used and products offered. Organisations should have a trustworthy source of advice so that corrective action can be taken in a timely fashion. | Does the organisation have a process to ensure that it is aware of and categorises security vulnerabilities affecting all applications, host systems and network devices within the scope of the ISMS; ensuring the process includes the application of updates and patches within regulatory timescales (e.g. 30 days for applications, host systems and/or networks within the scope of the PCI DSS)?
A.12.6.2 | Configuration management | Mandatory | Y | Users should not have sufficient privileges to install software, except where this is necessary for their role. | Are rules governing the installation of software by users established and implemented?
A.12.7.1 | Audit | Mandatory |  | No additional guidance | Does the organisation implement plans and controls to ensure that audit and compliance checks (e.g. vulnerability assessments and/or penetration tests) do not adversely affect the business operation of applications, host systems and/or network devices within the scope of the ISMS?
A.13.1.1 | Access management | Critical | Y | Where there is remote management of equipment, for example placed at unattended sites or on customer premises, the wider risk of unauthorised access to management networks should be considered. Except where direct communications are required, operators should maintain the separation of external sources from each other at interconnect points, for example other interconnects or the Internet. Filters, session control proxy devices, firewalls or other technology may be used to maintain this separation. | Are security controls related to the service applied to networks and network services as a result of a technical risk assessment?
A.13.1.2 | Service management | Non-mandatory |  | No additional guidance | Are the security requirements for network services included in contracts and service level agreements your organisation and any external service provider of network services?
A.13.1.3 | Access management | Critical | Y | CNSPs must have clearly defined network security boundaries:  Boundary A: Between critical systems and other unrelated internal systems (typically including the office LAN, normal office workstations and so on)  Boundary B: Between critical network management systems and critical equipment carrying customer traffic  Boundary C: Between customer networks and other customers  Boundary D: Between customer networks and management channels Connectivity over boundaries should be tightly defined and controlled. Interactive connectivity over boundary A should be achieved with audited jump-off servers. A firewall should be used at boundary B to provide mutual protection between the two zones. CNSPs may segregate traffic by mapping different customers into data channels. However the security of boundaries C and D should not rely on information provided by customer premises equipment. (For example: modification of the customer equipment shouldn’t allow a customer to change the mapping and gain access to another customer’s network) The network segregation should be documented. | Does the organisation enforce security boundaries between the production and non-production environments networks within the scope of the ISMS and the internal network (using for example perimeter/boundary security solutions, implementation and enforcement of access control lists and the use of cryptographic techniques)?
A.13.2.1 | Information management | Mandatory |  | Section 13.2 controls should apply to information that could facilitate an attack on the service or customer’s traffic. | Does the organisation implement technical and non-technical controls to protect information relating to the service provided whilst in transit?
A.13.2.2 | Information management | Mandatory |  | No additional guidance | Does the organisation establish agreements for the exchange of information and software between itself and external parties, considering: - What information can be exchanged? - How will information be exchanged? - How should each party involved handle the information exchanged? - Who can exchange information? - How will the exchange be secured and monitored? - Who is responsible for authorising the information exchange? - Who is responsible for managing the security of the interconnection or shared service?
A.13.2.3 | Information management | Mandatory |  | This control should be applied to any information that could facilitate an attack against the service or the customers’ traffic. | Does the organisation ensure that information contained within any electronic messaging system can be protected in transit between it's clients and itself?
A.13.2.4 | Governance | Mandatory | Y | No additional guidance | Are all users and employees required to sign confidentiality agreements?
A.14.1.1 | Configuration management | Mandatory | Y | Security requirements for critical equipment and critical applications should be specified, to include authentication, logging, configuration and provision of security patches by the vendor. Formal security standards should be considered for assuring products where possible, for example, by specifying standards such as the Centre for Internet Security (CIS) benchmarks, common criteria (reference [x]), CESG Commercial Product Assurance (reference [y]) and Federal information processing standards (references [z], [aa][bb]), as appropriate. | Are all changes and/or projects that impact the applications, host systems and/or networks devices that provide the service subject to review to ensure that security requirements are identified?
A.14.1.2 | Vulnerability management | Non-mandatory |  | This control should be implemented if the CNSP has application services on public networks. Information held and processed by the application should be protected both in transit and at rest. | Do applications, host systems and/or network devices providing e-commerce activities within the service enforce controls to manage the risk of fraudulent activities such as repudiation of transactions, modification and confidentiality of data (examples are the OWASP/WASC development frameworks and SDLC methodologies)?
A.14.1.3 | Vulnerability management | Non-mandatory |  | Access should be protected where the application can be used to amend or cancel services, or may potentially lead to the retrieval of personal customer data (for example customer portals). Access to applications by customers (or others) should be protected against misuse by the applicable range of controls from this and other standards. | Do applications, host systems and/or network devices supporting payment card transactions within the service enforce controls to manage the risk of fraudulent activities such as repudiation of transactions, modification and confidentiality of data (such as those detailed within the PCI DSS assurance framework)?
A.14.2.1 | Configuration management | Mandatory | Y | This policy should apply to custom or customised applications that exchange data with critical systems. | Are rules for the development of software and systems established and applied to both internal and external software development within the organisation.
A.14.2.2 | Change management | Mandatory |  | No additional guidance | Has the organisation implemented formal change control procedures for the applications, host systems and/or network devices within the scope of the ISMS?
A.14.2.3 | Change management | Mandatory |  | No additional guidance | Does the organisation review the security and operation of applications, host systems and/or network devices within the scope of the ISMS following an operating system update or change and review how these changes affect existing risk assessments and security controls?
A.14.2.4 | Change management | Non-mandatory |  | No additional guidance | Does the organisation ensure that all changes, updates or modifications to software used to support/maintain the service are strictly controlled and authorised (through implementation of an authorisation process for changes as part of the change control procedures)?
A.14.2.5 | Configuration management | Mandatory | Y | Principles should describe secure coding techniques (for example, input validation, output encoding, etc.) and should include references to controls within this standard, and relevant external standards (for example OWASP and WASC). | Are principles for engineering secure systems shall be established, documented, maintained and applied to any information system implementation efforts in line with OWASP or WASC?
A.14.2.6 | Configuration management | Mandatory | Y | It should not be possible to access live systems or data from the development environment, unless the security control of the development environment is as strict as the security control of the live environment. | Does security testing of developments confirm that it is not possible to access live systems or data from the development environment, unless the security control of the development environment is as strict as the security control of the live environment?
A.14.2.7 | Configuration management | Mandatory | Y | Internal or independent audit of bespoke source code should be used where possible for code running on critical equipment or critical applications. It is recognised this can never guarantee to detect malicious code. | Does the organisation ensure that all software development of applications used to provide the service is conducted according to established policy, and at least incorporates SDLC, compliance with OWASP/WASC and independent vulnerability assessment/penetration tests?
A.14.2.8 | Configuration management | Mandatory | Y | Security testing should include:  Testing of explicit security functionality (e.g. authentication, logging, etc.)  Testing security elements of other functionality (for example, controls against SQL injection and cross-site scripting, application logic, etc.) | Is the security functionality of systems tested to confirm that controls operate as intended ((e.g. authentication, logging, etc.) and that common weaknesses (e.g. SQL injection and cross-site scripting, application logic, etc) are assessed?
A.14.2.9 | Configuration management | Mandatory | Y | Acceptance procedures should also include functional security and security testing (see A.14.2.8 above). Sub-systems provided by third parties (for example, a system for managing a specific type of network element) should also go through acceptance procedures. Trials are recommended before full acceptance, as described in clause A.12.1.2, Change management (above). Acceptance procedures shall also include Service process and readiness testing. Service Management process should be tested to prove service readiness and should include service rehearsals (for example, the service management change process should be rehearsed prior to any operational service commencement. | Has the organisation implemented a process to ensure that authorisation is achieved for new applications, hosts systems and/or network devices within the scope of the ISMS, including testing of systems, system upgrades, enhancements and assurance?
A.14.3.1 | Information management | Non-mandatory |  | No additional guidance | Does the organisation ensure that production data processed/stored by applications, host systems and/or network devices isn't used in non-production environments?
A.15.1.1 | Supply chain assurance | Mandatory | Y | No additional guidance | Does the organisation ensure that security requirements are specified in contracts with external service providers within the scope of the ISMS?
A.15.1.2 | Supply chain assurance | Mandatory | Y | The CNSP may subcontract the implementation of controls mandated by this security procedure to a third party. In this case, the contract with the third party should cover the relevant E2E service availability, continuity and security requirements. The CNSP should ensure provision for monitoring and enforcing compliance with these requirements. The policies relating to human resources, identification, authentication, access control, service management and continuity should also be applicable to all relevant external parties. Organisations should use best endeavours to minimise adverse impact on other CNSPs. | Are information security requirements and security responsibilities included in contractual agreements related to customer access to the service and external service providers utilised in within the scope of the ISMS? Evidence could include, but is not limited to: Risk assessments of assets within the ISMS scope that cover all the scenarios detailed in this control. Risk treatment approaches for the identified risks. Controls selected to manage the identified risks. Contractual agreements covering the requirements Service reviews with suppliers that cover the requirements Corrective and Preventative actions relating to feedback from supplier reviews | Has the organisation implemented and tested business continuity arrangements, ensuring that information security and the continuity of applications, host systems and/or network devices within the scope of the ISMS after an information security incident is included in these business continuity arrangements?
A.15.1.3 | Supply chain assurance | Critical | Y | The following specific risks must be considered:  Risks arising from vendor, contractor and other operator access to critical equipment, including remote access  Risks arising from different approaches to screening carried out by vendors, contractors and other operators with staff in different countries  Risks arising from backdoors or other unknown vulnerabilities in vendors’ or other operators’ equipment  Risks arising from service continuity failures, as detailed within 6.1.2(c) Controls must be considered to manage these risks, in particular:  Access control (see A.9.2.3)  Network segregation (see A.13.1.3)  Monitoring (see reference [dd])  Equipment siting and protection (see A.11.2.1)  Supporting utilities (see A.11.2.2) Selected controls should be clearly documented. Access by external parties to the organisation’s information should not be provided until the controls have been implemented and a contract has been signed defining the terms and conditions for the connection or access and the working arrangements. The contractual agreement with the external party should include service availability, continuity and security requirements and any required Non-Disclosure Agreements (NDAs). The external party should be aware of their obligations, and accept the responsibilities and liabilities involved in accessing, managing or providing software for the equipment. | Have the applications, host systems and/or networks devices within the scope of the ISMS been subject to a technical risk assessment to ensure that the risks associated with connections to external systems or organisations have been taken into account?
A.15.2.1 | Supply chain assurance | Mandatory | Y | Where third parties have access which can be used to reconfigure network elements, strong auditing and protective monitoring should be applied. | Does the organisation regularly audit service delivery partners within the scope of the ISMS to ensure compliance with service level agreements and information security requirements?
A.15.2.2 | Change management | Mandatory |  | Where third parties can affect the availability of the service in question, the same comments apply as for clause 12.1.2, Change management (above). | Does the organisation ensure that changes to services provided by delivery partners are managed and controlled in accordance with the organisational change management process?
A.16.1.1 | Incident management | Mandatory | Y | CNSPs should have documented the management responsibilities and procedures for a quick, effective and orderly response to information security incidents affecting assured services or service slices. Incident management processes must include at a minimum: - alerts from NHS Cyber Alerts - security incidents - unpatched vulnerabilities at CVSS 7.0 or above - End Of Life components - High Risk Vendors | Has the organisation defined responsibilities and procedures for reporting, managing and responding to information security incidents (which includes the personnel to contact in the event of an incident occurring)?
A.16.1.2 | Incident management | Mandatory | Y | CNSPs should be able to show how information security events within the scope of the services or service slice being assured are reported:  Through appropriate management channels  Externally, where appropriate  Where security events affect UK government data or systems, to GovCertUK, the HMG Computer Emergency Response Team (CERT) for network security incidents [bb] CNSPs should also demonstrate the existence of an escalation path for unresolved security issues. | Does the organisation have a defined process to ensure that all accidental/malicious incidents affecting applications, host systems and/or networks within the scope of the ISMS are reported and managed according to formal incident response plans?
A.16.1.3 | Incident management | Mandatory | Y | No additional guidance | Has the organisation implemented and communicated incident reporting mechanisms and procedures in security policies and operating procedures?
A.16.1.4 | Incident management | Mandatory | Y | In addition to 'In life 100' CNSPs must perform proactive Problem Management; for example, by trending events/incidents to identify any potential underlying root cause, and then address the root cause by implementing a permanent fix via the Change management process. Problem management processes should follow the format detailed within ISO/IEC-20000:2011. | Does a documented process exist to assess events to determine if they are to be managed as incidents?
A.16.1.5 | Incident management | Mandatory | Y | CNSPs should have documented the management responsibilities and procedures for a quick, effective and orderly response to information security incidents affecting assured services or service slices. | Are the management responsibilities and procedures documented for responses to information security incidents affecting critical services?
A.16.1.6 | Incident management | Mandatory | Y | Causal analysis must be implemented as a systematic process for identifying “root causes” of problems or events and an approach for responding to them to reduce the likelihood of the incidents occurring again. | Does the incident response plan include a process to review information security incidents and if appropriate modify the organisational policy or other relevant controls?
A.16.1.7 | Incident management | Non-mandatory | Y | No additional guidance | Does the incident response plan include a requirement to preserve and analyse data generated by an application, host system and/or network device within the scope of the ISMS in a manner that would it to be used for legal and management purposes (e.g. ensuring the 'chain of evidence' within ACPO guidelines and PACE)?
A.17.1.1 | Business continuity planning | Mandatory | Y | Business continuity plans must maintain the CNSP's obligation to meet this security procedure. Business Continuity planning needs to ensure that all service affecting business functions and locations, including those with critical network equipment, have plans for dealing with disruptions to E2E service availability, continuity and security. Service components detailed within the scope of service shall be subject to a Business Impact Assessment, resulting in defined Recovery Time Objective (RTO), Recovery Point Objective (RPO) and Maximum Tolerable Period of Disruption (MTPD) that support the delivery of service to the minimum service level. Plans must include considerations of service availability, continuity and security in their temporary situation and provide appropriate mitigation to the range of threats and risks identified in 6.1.2.c. This will include but not be limited to:  Physical security of alternative locations and temporary equipment used to restore the network; and  Use of suitably cleared Personnel  Use of technical/non-technical approaches to cater for personnel being unable to attend site to support service availability/continuity Whilst ISO27001:2013 does not consider non service impacting functions such as Sales and Billing to be in scope, HSCN requires that organisations assess the need to implement these requirements across its business to support service availability/continuity. | Has the organisation implemented and tested business continuity arrangements, ensuring that information security and the continuity of applications, host systems and/or network devices within the scope of the ISMS after an information security incident is included in these business continuity arrangements? Evidence could include, but is not limited to: Asset lists which comply with scoping requirements from 4.3.a and this control (including RTO, RPO and MTPD) Business Continuity plans and policy documents containing RTO, RPO and MTPD definitions Business Impact Analysis / IT Service Continuity Plans Risk assessments of assets within the ISMS scope that cover all the scenarios detailed in this control. Risk treatment approaches for the identified risks. Controls selected to manage the identified risks. | Are operational service continuity plans implemented to restore services as soon as possible in the event of non-technical service disruptions (e.g. flood, snow, travel disruption), and are they communicated to staff and management responsible for invoking and implementing them?
A.17.1.2 | Business continuity planning | Mandatory | Y | No additional guidance | Has the organisation agreed, documented, implemented and maintained processes, procedures and controls to ensure that security controls continue to operate during an BCP/DR?
A.17.1.3 | Business continuity planning | Mandatory | Y | No additional guidance | Does the organisation validate that the processes, procedures and controls related to security controls continue to operate during an BCP/DR?
A.17.2.1 | Business continuity planning | Mandatory | Y | It is expected that to achieve the availability requirements of ISO27001:2013, the design of the network and supporting business function will have elements of resilience, redundancy, automated and manual failover processes. The service design and availability modelling must consider typical failure modes such as equipment failures, and associated replacement or repair times. For further guidance see Chapter 5 - Availability: Requirements, Calculation and Demarcation Rules | Does the design of the network and supporting business functions consider typical failure modes such as equipment failures, and associated replacement or repair times? Have the Recovery Point Objectives and Recovery Time Objectives been defined for key services?
A.17.3.1 | Business continuity planning | Mandatory | Y | Good design protects the service against typical types of failures such as equipment breakdown. However extraordinary events, that are typically outside the control of the CNSP, may cause service disruptions that are not catered for in the design. Operational service continuity plans must be in place to deal with these events to restore services as soon as possible. These plans must be communicated to staff and management responsible for invoking and implementing them. | Are operational service continuity plans implemented to restore services as soon as possible in the event of non-technical service disruptions (e.g. flood, snow, travel disruption), and are they communicated to staff and management responsible for invoking and implementing them? Evidence could include, but is not limited to: Risk assessments of assets within the ISMS scope that cover all the scenarios detailed in this control. Risk treatment approaches for the identified risks. Controls selected to manage the identified risks. Operational processes Business Continuity Plans Business Continuity test plans and results IT Service Continuity Plans Failover test plans and results Corrective and Preventative actions relating to feedback from test plans
A.17.3.2 | Business continuity planning | Mandatory | Y | Operational plans for service restoration must be tested and exercised according to a defined schedule to confirm they will achieve their objectives. Where deficiencies or inaccuracies are identified, the plans will be updated, and where appropriate retested. | Are operational plans for service restoration tested and exercised according to a defined schedule to confirm they will achieve their objectives, and where deficiencies or inaccuracies are identified, will the plans will be updated, and where appropriate retested? Evidence could include, but is not limited to: Risk assessments of assets within the ISMS scope that cover all the scenarios detailed in this control. Risk treatment approaches for the identified risks. Controls selected to manage the identified risks. Test Schedule Backup policies Backup test plans Operational processes Business Continuity Plans Business Continuity test plans and results IT Service Continuity Plans Failover test plans and results Corrective and Preventative actions relating to feedback from test plans
A.18.1.1 | Governance | Mandatory | Y | No additional guidance | Has the organisation identified all legislation, regulations and/or contractual obligations related to the provision of the service, recorded these formally and complied with them?
A.18.1.2 | Governance | Non-mandatory | Y | No additional guidance | Has the organisation taken steps to ensure protection of Intellectual Property Rights resulting from within the scope of the ISMS – such as copyright, in accordance with legislative, regulatory and contractual requirements?
A.18.1.3 | Information management | Non-mandatory |  | This control should be applied to any information that could facilitate an attack against the service or the customers’ traffic. | Has the organisation identified, formally recorded and managed risks to records important to the delivery of the service in accordance with all applicable legislation, regulations and/or contractual obligations?
A.18.1.4 | Governance | Non-mandatory | Y | No additional guidance | Does the organisation protect personal information and data processed as part of the provision, maintenance and/or support of the service in accordance with all applicable legislation, regulations and contracts?
A.18.1.5 | Cryptography management | Mandatory |  | No additional guidance | Does the organisation ensure that cryptographic devices and solutions are selected and used in accordance with all relevant regulations and legislation on the use of cryptography?
A.18.2.1 | Audit | Mandatory |  | Audits in addition to the CAS(T) audit are expected. These might be internal or other external audits looking at the same controls and scope. | Does your organisation review the risk assessments and associated technical/non-technical controls at least annually in order to assess whether any changes have occurred since the original risk assessment was made that might affect the risk treatment decision?
A.18.2.2 | Governance | Mandatory | Y | No additional guidance | Does the organisation ensure that security policies, standards and requirements are being complied with at least annually and that reports must be made to management on the performance of technical/non-technical controls relating to the security of the applications, host systems and/or network devices within the scope of the ISMS?
A.18.2.3 | Audit | Critical | Y | Critical equipment and critical applications must be subject to penetration testing:  On an annual basis; or  When a significant change to implementation or configuration has occurred The systems tested must be representative of all types of network elements, networking devices and operational support systems. The results of these tests must be considered as part of the audit. When testing hasn't occurred within the audit period, testing must be implemented as part of the audit. Penetration testing can be performed by the CAS Company or by an appropriate third party as specified below. The testing activities should include as a minimum: a. Vulnerability assessment from the perspective of:  An unauthenticated individual with local network access to the network elements (e.g. with the access that might be available to a malicious intruder); and  Authenticated (admin) rights (including checks on software versions) b. A configuration review of network devices. Where possible, the running configuration should be extracted from the device and analysed for configuration weakness, otherwise an on-screen review should be undertaken where configuration extraction is not possible. c. A local host build review of management devices. This stage looks for local configuration weaknesses such as incorrectly applied group policy, generic users, anti-tamper, anti-virus, the presence of unnecessary software etc. This stage seeks to highlight local operating system weaknesses that a basic vulnerability assessment may not identify. d.Scenario based penetration testing including the following scenarios as a minimum:  Local management network penetration tests from the perspective of a system operator with local network access  Customer end-point testing, which seeks to establish customer- customer, customer-management network segregation and also assesses the potential for successful denial-of-service attacks. Particularly high-risk edge devices with interfaces that are exposed to customers should be subjected to ‘robustness testing’. This should be a more thorough search for denial of service or other attacks, potentially using customised tools and using protocol fuzzing  Any third-party remote access solution designed to limit the access of that third-party to specific network segments, devices or service  Breakout scenarios (where not covered above) should also be undertaken where applicable e.g. for Citrix installations or workstation lockdowns where operating system functionality is explicitly restricted from operators by design Where similar components are used, a sampling approach may be acceptable but where this detects problems the issues (for example, lack of conformance with configuration policies), will need to be addressed across all the components. Penetration testing must be conducted using an approved independent external resource, for example firms endorsed by CESG under the IT Security Health Check Service (CHECK) scheme. Details of endorsed qualifications are published on the CHECK website (reference [cc]). | Does the organisation regularly check applications, host systems and/or network devices within the scope of the ISMS for compliance with security standards, through vulnerability assessment and/or penetration tests?